Quality Manual

Control No: __ Copy___

A list of holders of controlled copies of the Quality Manual is maintained by the ISO Management Representative

# 1 Table of Contents

Section 	Title	Pg No.

### 2	Forward	2

### 2.1	Scope of Accreditation	3

### 3	Fox Valley Metrology Group Quality Policy	4

### 4	Management system	4

### Organization	4

### Quality system	7

4.3	Document control	8

4.4	Review of requests, tenders, and contracts	10

  - Subcontracting of tests and calibrations	12

  - Purchasing services and supplies	12

  - Service to the client	13

  - Complaints	14

  - Control of nonconforming testing and/or calibration work	14

  - Continual Improvement	14

  - Corrective Action	15

  - Preventative Action	16

  - Control of Records	16

  - Internal Audits	17

### 4.15         Management Review	18

4.16         Resource Management                                                                19

4.17         Measurement, analysis and improvement			      20

### Technical requirements	21

### General	21

### Personnel	22

### Accommodation and environmental conditions	23

### Test & calibration methods and method validation	23

5.5	Equipment	27

5.6	Measurement traceability	29

  - Sampling	31

  - Handling of test & calibration items	31

  - Assuring the quality of test & calibration results	32

  - Reporting of results	33

6	Organization Charts	39

7	Customer Process Sequence	40

8	ISO 9001 Cross Reference	41

9	Sequence & Interaction of Processes	43

10	Quality Manual Changes	44

2 Forward & Scope of Services

Fox Valley Metrology LTD. (FVM) was founded on January 1, 1996.  The purpose of this company is to provide hard gage calibration, electronic calibration, and contract inspection services.  All calibration will be performed with known measurement uncertainty and will be traceable to the National Institute of Standards and Testing (NIST) and military standards.

Twin Pines Metrology in Grantsburg, WI was purchased on May 13, 1999 by Fox Valley Metrology. This will add faster response time and less travel related expenses to our customers. TPM will be run as affiliates of Fox Valley Metrology. TPM will follow all the same operating procedures as FVM. The quality system followed at Fox Valley Metrology, Twin Pines Metrology (FVM/FVMN/FVMS) meets or exceeds requirements of ISO 9001:2000, ISO/IEC 17025:2005, ISO 10012, and Z540.1.  Twin Pines Metrology is legally doing business as Fox Valley Metrology North (FVMN) for corporate consistency since 7/1/2009.

Fox Valley Metrology South (FVMS) in Fenton, MO was created on 9/1/05. This will add faster response time and less travel related expenses to our customers. FVMS will be run as affiliates of Fox Valley Metrology. FVMS will follow all the same operating procedures as FVM. The quality system followed at Fox Valley Metrology, Fox Valley Metrology North & Fox Valley Metrology South(FVM/FVMN/FVMS) meets or exceeds requirements of ISO 9001:2000, ISO/IEC 17025:2005, ISO 10012, and Z540.1. Fox Valley Metrology Group added another location in Stacey, MN on 1/1/15 this location will also be included in ISO/IEC 17025:2005 process.

All calibration information, measurements, data, certifications, reports, and electronically stored information about our customers will be confidential and proprietary.  This information will not be released or shared with a third party without the consent of the customer.  They also reserve the right to monitor any of their calibrations.

Any operations performed at FVM/FVMN/FVMS/FVMNII in compliance with ISO/IEC 17025:2005, ANSI/NCSL Z540, or ISO 9001:2000 shall be subject to customer verification at unscheduled intervals.

All locations will be further defined in this document as the “Fox Valley Metrology Group”.

2.1 Scope of Accreditation

Fox Valley Metrology scope of operations includes the following areas, within the permanent and mobile laboratories:

# Dimensional

Gages blocks, length bars, cylindrical OD/ID, thread OD/ID, flatness, surface finish, calipers, micrometers, indicators, height gages, machine toll alignment, CMM calibrations, optical comparators, 1D-3D dimensional measurements.

# Mechanical

Mass, scales, balances, pressure, force, torque, indirect verification of hardness (Brinnell, Rockwell, Micro, Durometer)

# Electrical

AC/DC current, AC/DC voltage, capacitance, resistance

# Time and Frequency

Frequency

The On-site Calibration Request contains a listing of the mobile site locations, purpose for which they were used, details of specific test(s) or calibrations(s) undertaken at the site, and a complete listing of all test or calibrations that Fox Valley Metrology is capable of performing on-site.

Section 7.3 of ISO 9001:2000 is not applicable to the Fox Valley Metrology Group’s operations, as the Fox Valley Metrology Group does not design any product or service.  Services are provided in accordance with commercially available standards or adaptations thereto.

The Fox Valley Group has established this Quality Manual for the following purposes:

- communicate the company's policy, procedures and requirements;

- train personnel in the quality system requirements and methods of compliance;

- to demonstrate its ability to consistently provide services that meet customer and applicable regulatory requirements,

- to meet the requirements of ISO/IEC 17025 :2005, ANSI/NCSL Z540 and ISO 9001:2000, and

- To enhance customer satisfaction through the effective application of the system, including processes from continual improvement of the system and the assurance of conformity to customer and applicable regulatory requirements.

3 Fox Valley Metrology Group Quality Policy Statement

The policy of Fox Valley Metrology is to provide the highest level of quality service while maintaining minimal economic impact on its customers.  By having all services traceable to NIST, Fox Valley Metrology offers fast turnaround time, affordable prices, and the personal service required by its customers.  This is achieved through:

- good professional practice;

- compliance with customer requirements, ISO/IEC 17025, ANSI/NCSL Z540, ISO9001, and statutory & regulatory requirements

- Having a management system in place which is focused on quality.

- Continually improving the effectiveness of the management system.

All personnel concerned with testing and calibration activities within Fox Valley Metrology Group are required to familiarize themselves with the quality documentation and implement the policies and procedures in their work to ensure that tests and/or calibrations are always carried out in accordance with stated methods and customer requirements.

Mark Toll

CEO

## 4 Management requirements

4.1 Organization

4.1.1 Fox Valley Metrology Group is a WI corporation.

4.1.2 Fox Valley Metrology Group carries out its testing and calibration activities in such a way as to meet the requirements of this International Standard and to satisfy the needs of the customer, the regulatory authorities or organizations providing recognition.

4.1.3 Fox Valley Metrology Group’s management system covers work carried out in permanent facilities, at sites away from its permanent facilities, or in associated temporary or mobile facilities.

4.1.4 Key personnel, who may have a potential for conflict of interest due to the company representing and promoting the sale of specialized gage and instruments for the quality industry, are the President, Electronic Manager, Systems Manager, and FVMN General Manager.

4.1.5 Fox Valley Metrology Group:

- has managerial and technical personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including the implementation, maintenance, and improvement of the management system, and to identify the occurrence of departures from the management system or from the procedures for performing tests and/or calibrations, and to initiate actions to prevent or minimize such departures (see also 5.2);

- Has arrangements to ensure that its management and personnel are free from any undue internal and external commercial, financial and other pressures and influences that may adversely affect the quality of their work;

- Has policies and procedures to ensure the protection of its customer’s confidential information and proprietary rights, including procedures for protecting the electronic storage and transmission of results;

- has policies and procedures to avoid involvement in any activities that would diminish confidence in its competence, impartiality, judgment or operational integrity;

- defines the organization and management structure of Fox Valley Metrology Group, and the relationships between quality management, technical operations and support services (see Section 6);

- specifies the responsibility, authority and interrelationships of all personnel who manage, perform or verify work affecting the quality of the tests and/or calibrations;

- provides adequate supervision of testing and calibration staff, including trainees, by persons familiar with methods and procedures, purpose of each test and/or calibration, and with the assessment of the test or calibration results;

- has technical management (Systems Manager) which has overall responsibility for the technical operations and the provision of the resources needed to ensure the required quality of laboratory operations;

- has appointed the Systems Manager as the Management Representative, who, irrespective of other duties and responsibilities, has defined responsibility and authority for ensuring that the management system related to quality is implemented and followed at all times; reporting to top management on the performance of the quality management system and any need for improvement, ensuring the promotion of awareness of customer requirements throughout the organization.  The Management Representative has direct access to the highest level of management at which decisions are made on laboratory policy or resources.

- Has appointed the General Manager as the Technical Manager Deputy.

- Ensures that its personnel are aware of the relevance and importance of their activities and how they contribute to the achievement of the objectives of the management system.

4.1.6 Management commitment

Fox Valley Metrology Group’s top management provides evidence of its commitment to the development and implementation of the quality management system and continually improving its effectiveness by:

a)	Communicating to all personnel, the importance of meeting customer, as well as, statutory and regulatory requirements,

b)	Establishing the quality policy,

c)	Ensuring that quality objectives are established,

d)	Conducting management reviews, and

- Ensuring the availability of resources.

This is accomplished through Management Meetings, reports, postings on the bulletin boards, and meetings with employees.

4.1.7 Customer focus

Fox Valley Metrology Group’s top management ensures that customer requirements are determined and fulfilled with the aim of enhancing customer satisfaction (see 4.4.1 and 4.17.2).

4.1.8 Quality policy

Fox Valley Metrology Group top management ensures that the quality policy

- is appropriate to the purpose of Fox Valley Metrology Group,

- includes a commitment to comply with requirements and continually improve the effectiveness of the quality management system,

- provides a framework for establishing and reviewing quality objectives,

- is communicated and understood within Fox Valley Metrology Group, and

- Is reviewed for continuing suitability.

4.1.9 Planning

4.1.9.1 Quality objectives

Fox Valley Metrology Group’s top management ensures that quality objectives, including those needed to meet requirements for product [see 7.1 a], are established at relevant functions and levels within Fox Valley Metrology Group The quality objectives are established in accordance with QP4.1.8, Business Plan Development and Review, and are measurable and consistent with the quality policy.

4.2 Quality system

4.2.1 Fox Valley Metrology Group has established, implemented and maintains a management system appropriate to the scope of its activities. Fox Valley Metrology Group policies, systems, programs, procedures and instructions have been documented to the extent necessary to assure the quality of the test and/or calibration results. The system’s documentation is communicated to, understood by, available to, and implemented by the appropriate personnel.

4.2.1.2 If Fox Valley Metrology Group chooses to outsource any process that affects product conformity with requirements; Fox Valley Metrology Group shall ensure control over such processes. Controls of such outsourced processes are identified within the quality management system (see QP4.6.1, Evaluation & Selection of Suppliers, and QP4.6.2 Purchasing Documentation).

4.2.2 Fox Valley Metrology Group’s management system policies related to quality, including a quality policy statement and objectives are defined in this quality manual. The overall objectives are documented in the quality policy statement found in Section 3 of this manual. They are reviewed during the Management Review and issued under the authority of The President of the company.

    - Top management ensures that the company;

- Identifies the processes needed for the quality management system and their application throughout Fox Valley Metrology Group.

- determines the sequence and interaction of these processes,

- determines criteria and methods needed to ensure that both the operation and control of these processes are effective,

- ensures the availability of resources and information necessary to support the operation and monitoring of these processes,

- monitors, measure and analyze these processes, and

- Implements actions necessary to achieve planned results and continual improvement of these processes.

4.2.4 Top management ensures communication within the organization the importance of meeting customer as well as statutory and regulatory requirements through the Quality Policy in Section 3 and through Management Review (see 4.15).

4.2.5 This quality manual references the supporting procedures, including technical procedures, in each section, as applicable. The sequence and interaction between the various processes of the management system is show in Section 8.  The documentation used in the quality system includes:

- The Quality Manual

- Quality Procedures (QP’s)

- Standard Work Instructions required to support a procedure

- Technical Instructions used for use, calibration and maintenance of equipment

- Forms, tags, labels, etc. used for identification and records

- Computer software used as instructions or records

4.2.6 The roles and responsibilities of technical management and the quality manager, including their responsibility for ensuring compliance with this International Standard, are defined in the various sections of this quality manual, and its subordinated procedures.

Management Representative has overall responsibility for the quality system. He reports directly to the President.  The General Manager is responsible for the technical function and implementation of quality systems and procedures with regards to training/technical & assistance to the various departments within the company.  He reports directly to the President.

4.2.7 Quality management system planning

Fox Valley Metrology Group’s top management ensures that:

- the planning of the quality management system is carried out in order to meet the requirements of ISO 9001 and ISO/IEC 17025, as well as the quality objectives, and

- The integrity of the quality management system is maintained when changes to the   quality management system are planned and implemented.

Procedure QP4.1.8, Business Plan Development and Review, governs the business planning process, and the establishment of measurable objectives.

4.3 Document control

4.3.1 General

Fox Valley Metrology Group has established and maintains procedure QP 4.3.1, Document Control, to control all documents that form part of its management system (internally generated or from external sources), such as regulations, standards, other normative documents, test and/or calibration methods, as well as drawings, software, specifications, instructions and manuals.

4.3.2 Document approval and issue

4.3.2.1 All documents issued to personnel in Fox Valley Metrology Group as part of the management system are reviewed and approved for use by authorized personnel prior to issue.  All lists are now only available thru the software on every computer electronically.  This will ensure that any document change comes from the main server and also ensure the correct and latest revision is shown on every computer.

4.3.2.2 The QP4.3.1 ensures that:

a) Authorized editions of appropriate documents are available at all locations where operations essential to the effective functioning of Fox Valley Metrology Group are performed;

b) Approve documents for adequacy prior to issue;

c) Documents are periodically reviewed and, where necessary, revised to ensure continuing suitability and compliance with applicable requirements; Revision dates are listed on table of contents to ensure reviews and documents are current.

d) Invalid or obsolete documents are removed from all points of issue or use, or otherwise assured against unintended use;

e) Ensure documents remain legible and readily identifiable;

f) Ensure that documents of external origin are identified and their distribution controlled;

g) Obsolete documents retained for either legal or knowledge preservation purposes are suitably marked.

4.3.2.3 Management system documents generated by Fox Valley Metrology Group are uniquely identified. Such identification shall include the date of issue and/or revision identification, page numbering, and the total number of pages or a mark to signify the end of the document, and the issuing authority.

4.3.3 Document changes

4.3.3.1 Changes to documents are reviewed and approved by the same function that performed the original review unless specifically designated otherwise. The designated personnel shall have access to pertinent background information upon which to base their review and approval.

4.3.3.2 Where practicable, the altered or new text is identified in the document or the appropriate attachments.

4.3.3.3 When documents are temporarily marked up by hand, pending the re-issue of the documents, QP4.3.1 defines the procedures and authorities for such amendments.

Changes shall be clearly marked, initialed and dated. A revised document is formally re-issued as soon as practicable.

4.3.3.4 QP4.3.1 describes how changes in documents maintained in computerized systems are made and controlled.

4.4 Review of requests, tenders and contracts

4.4.1 Procedure QP4.4.1 Review of Requests, Tenders, and Contracts has been established and is maintained for the review of requests, tenders and contracts.  The processes needed for service realization are planned at that time in accordance with QP5.4.2 Selection of Calibration or Inspection Methods.  In planning product realization, Fox Valley Metrology Group determines the following, as appropriate:

a)	Quality objectives and requirements for the product;

b)	The need to establish processes, documents, and provide resources specific to the product;

c)	Required verification, validation, monitoring, inspection and test activities specific to the product and the criteria for product acceptance;

d)	Records needed to provide evidence that the realization processes and resulting product fulfill requirements (see 4.13.1).

Fox Valley Metrology Group determines:

a)	Requirements specified by the customer, including the requirements for delivery and post-delivery activities,

b)	Requirements not stated by the customer but necessary for specified or intended use, where known,

c)	Statutory and regulatory requirements related to the product, and

d)	Any additional requirements determined by Fox Valley Metrology Group.

The procedure ensures that:

a) The requirements, including the methods to be used, are adequately defined, documented and understood (see 5.4.2);

b) Fox Valley Metrology Group has the capability and resources to meet the requirements;

c) The appropriate test and/or calibration method is selected and capable of meeting the customers’ requirements (see 5.4.2).

d) Any differences between the request or tender and the contract shall be resolved before any work commences.

Each contract shall be acceptable both to Fox Valley Metrology Group and the customer.

4.4.2 Records of reviews, including any significant changes, are maintained. Records are also maintained of pertinent discussions with a customer relating to the customer’s requirements or the results of the work during the period of execution of the contract.

4.4.3 The review covers any work that is subcontracted by Fox Valley Metrology Group.

4.4.4 The customer shall be informed of any deviation from the contract.

4.4.5 If a contract needs to be amended after work has commenced, the same contract review process is repeated and any amendments are communicated to all affected personnel.

4.4.6 Customer communication

Fox Valley Metrology Group determines and implements effective arrangements for communicating with customers in relation to:

a)	Product information,

b)	Inquiries, contracts or order handling, including amendments, and

c)	Customer feedback, including customer complaints.

The determination and review of product and customer requirements, as well as communication arrangements is controlled in accordance with QP4.4.1, Review of Requests, Tenders, and Contracts.

4.5 Subcontracting of tests and calibrations

4.5.1 When Fox Valley Metrology Group subcontracts work, whether because of unforeseen reasons (e.g. workload, need for further expertise or temporary incapacity) or on a continuing basis (e.g. through permanent subcontracting, agency or franchising arrangements), the work is placed with a subcontractor who can provide objective evidence of compliance with ISO/IEC 17025, or is the Original Equipment Manufacturer, if no other source is available.

4.5.2 Fox Valley Metrology Group advises the customer of the arrangement in writing and, when appropriate, gains the approval of the customer, preferably in writing.

4.5.3 Fox Valley Metrology Group is responsible to the customer for the subcontractor’s work, except in the case where the customer or a regulatory authority specifies which subcontractor is to be used.

4.5.4 Fox Valley Metrology Group maintains a register of all subcontractors that it uses for tests and/or calibrations and a record of the evidence of compliance with ISO/IEC 17025 for the work in question.

4.6 Purchasing services and supplies

4.6.1 The following procedures govern the purchasing and handling of services and suppliers:

- QP4.6.1, Evaluation and Selection of Suppliers

- QP4.6.2, Purchasing Documentation

- QP4.6.3, Verification and Storage of Purchased Products

4.6.2 Purchased supplies and reagents and consumable materials that affect the quality of tests and/or calibrations may not be used until they have been inspected or otherwise verified as complying with standard specifications or requirements defined in the methods for the tests and/or calibrations concerned.

These services and supplies used comply with specified requirements. Records of actions taken to check compliance are maintained.

If Fox Valley Metrology Group or its customer desires to perform an inspection of purchased supplies at an approved Vendor, the purchase order specifies the verification arrangements and method of product release (special requirements), and the Vendor is required to notify the Fox Valley Metrology Group when the product will be ready for inspection.

Inspection by the customer at a Fox Valley Metrology Group Vendor, or at Fox Valley Metrology Group shall not absolve Fox Valley Metrology Group of the responsibility to provide acceptable product, preclude subsequent rejection of the product, or be used as evidence of an effective control of purchased part quality

4.6.3 Purchasing documents for items affecting the quality of laboratory output contain data describing the services and supplies ordered. These purchasing documents are reviewed and approved for technical content prior to release.  The purchasing documents describe the product or service to be purchased, including where appropriate:

a)	Requirements for approval of product, procedures, processes and equipment,

b)	Requirements for qualification of personnel, and

c)	Quality management system requirements.

4.6.4 Fox Valley Metrology Group evaluates suppliers of critical consumables, supplies and services, which affect the quality of testing and calibration, and maintains records of these evaluations and list those approved.

4.7 Service to the customer

4.7.1 Fox Valley Metrology Group affords customer, or their representatives, cooperation to clarify the customer’s request and to monitor Fox Valley Metrology Group’s performance in relation to the work performed, provided that Fox Valley Metrology Group can ensure confidentiality to other customers.

4.7.2 Fox Valley Metrology Group shall seek feedback through QP4.17.2, Customer Satisfaction. Fox Valley Metrology Group seeks feedback both positive and negative, from its customers. Fox Valley Metrology Group monitors and analyzes the feedback to improve the management system, testing and calibration activities and customer service.

4.8 Complaints

Procedure QP4.11.1, Corrective Action governs the methods for the resolution of complaints received from customers or other parties. Records are maintained of all complaints and of the investigations and corrective actions taken by the Fox Valley Metrology Group.

4.9 Control of nonconforming testing and/or calibration work

4.9.1 QP4.9.1, Control of Nonconforming Work is followed when any aspect of its inspection, testing and/or calibration work, or the results of this work, do not conform to Fox Valley Metrology Group procedures or the agreed requirements of the customer. The procedure ensures that:

a) the responsibilities and authorities for the management of nonconforming work are designated and actions (including halting of work and withholding of test reports and calibration certificates, as necessary) are defined and taken when nonconforming work is identified;

b) An evaluation of the significance of the nonconforming work is made;

c) Corrections are taken immediately, together with any decision about the acceptability of the nonconforming work;

d) Where necessary, the customer is notified and work is recalled;

e) The responsibility for authorizing the resumption of work is defined.

4.9.2 Where the evaluation indicates that the nonconforming work could recur or that there is doubt about the compliance of Fox Valley Metrology Group’s operations with its own policies and procedures, the corrective action procedures given in 4.11 are promptly followed.

4.10 Continual Improvement

4.10.1 Fox Valley Metrology Group continually improves the effectiveness of the quality management system, through the use of the quality policy, quality objectives, audit results, analysis of data, corrective and preventive actions and management review, in accordance with Procedure QP4.10.1, Continual Improvement.  Employees are asked to contribute ideas for continual improvement.

4.11 Corrective action

4.11.1 General

Procedure QP4.11.1, Corrective Action designates the appropriate authorities for implementing corrective action when nonconforming work or departures from the policies and procedures in the management system or technical operations have been identified.

Corrective actions are appropriate to the effects of the nonconformities encountered.

Procedure QP4.11.1, Corrective Action defines requirements for:

a)	Reviewing nonconformities (including customer complaints),

b)	Determining the causes of nonconformities,

c)	Evaluating the need for action to ensure that nonconformities do not recur,

d)	Determining and implementing action needed,

e)	Records of the results of action taken (see 4.2.4), and

f)	Reviewing corrective action taken.

4.11.2 Cause analysis

The procedure starts with an investigation to determine the root cause(s) of the problem.

4.11.3 Selection and implementation of corrective actions

Where corrective action is needed, Fox Valley Metrology Group identifies potential corrective actions. The action(s) most likely to eliminate the problem and to prevent recurrence is selected and implemented.  Corrective actions are to a degree appropriate to the magnitude and the risk of the problem. Fox Valley Metrology Group documents and implements any required changes resulting from corrective action investigations.

4.11.4 Monitoring of corrective actions

Fox Valley Metrology Group monitors the results to ensure that the corrective actions taken have been effective.

4.11.5 Additional audits

Where the identification of nonconformities or departures casts doubts on Fox Valley Metrology Group’s compliance with its own policies and procedures or on its compliance with ISO/IEC 17025, Fox Valley Metrology Group ensures that the appropriate areas of activity are audited in accordance with 4.14 as soon as possible.

4.12 Preventive action

4.12.1 Needed improvements and potential sources of nonconformities, either technical or concerning the management system, are identified. When improvement opportunities are identified or if preventive action is required, action plans are developed, implemented and monitored in accordance with QP4.12.1, Preventive Action to reduce the likelihood of the occurrence of such nonconformities and to take advantage of the opportunities for improvement.

4.12.2 Procedure QP4.12.1, Preventive Action defines requirements for

a)	Determining potential nonconformities and their causes,

b)	Evaluating the need for action to prevent occurrence of nonconformities,

c)	Determining and implementing action needed,

d)	Records of results of action taken (see 4.2.4), and

e)	Reviewing preventive action taken.

Procedure QP4.12.2 includes the initiation of such actions and application of controls to ensure that they are effective.

4.13 Control of records

4.13.1 General

4.13.1.1 Procedure QP4.13.1, Control of Records governs the identification, collection, indexing, access, filing, storage, maintenance and disposal of quality and technical records. Records include reports from internal audits and management reviews as well as records of corrective and preventive actions.

4.13.1.2 All records shall be legible and stored and retained in such a way that they are readily retrievable in facilities that provide a suitable environment to prevent damage or deterioration and to prevent loss. Retention times of records are established.  Records may be in any media, such as hard copy or electronic media.

4.13.1.3 All records identified to customer service shall be held secure and in confidence.

4.13.1.4 QP4.13.1 identifies the methods use to protect and back-up records stored electronically and to prevent unauthorized access to or amendment of these records.

4.13.2 Technical records

4.13.2.1 Fox Valley Metrology Group retains records of original observations, derived data and sufficient information to establish an audit trail, calibration records, staff records and a copy of each test report or calibration certificate issued, for a defined period. The records for each test or calibration contain sufficient information to facilitate, if possible, identification of factors affecting the uncertainty and to enable the test or calibration to be repeated under conditions as close as possible to the original. The records include the identity of personnel responsible for the sampling, performance of each test and/or calibration and checking of results.

4.13.2.2 Observations, data and calculations are recorded at the time they are made and shall be identifiable to the specific task.

4.13.2.3 When mistakes occur in records, each mistake is crossed out, not erased or made illegible or deleted, and the correct value entered alongside. All such alterations to records are signed or initialed by the person making the correction. In the case of records stored electronically, equivalent measures are taken to avoid loss or change of original data.

4.14 Internal audits

4.14.1 Internal Audits are scheduled and performed in accordance with procedure QP4.14.1, Internal Audits, to verify that its operations continue to comply with the requirements of the management system ISO 9001:2000 and ISO/IEC 17025. The internal audit program addresses all elements of the management system, including the testing and/or calibration activities. It is the responsibility of the Management Representative to plan and organize audits as required by the schedule and requested by management. The audit program is planned, taking into consideration the status and importance of the processes and areas to be audited, as well as the results of previous audits. The audit criteria, scope, frequency and methods are defined. Such audits are carried out by trained and qualified personnel.  Selection of auditors and conduct of audits ensures objectivity and impartiality of the audit process.  Wherever resources permit, auditors independent of the activity to be audited are used. In any event, auditors shall not audit their own work.

4.14.2 When audit findings cast doubt on the effectiveness of the operations or on the correctness or validity of Fox Valley Metrology Group’s test or calibration results, Fox Valley Metrology Group takes timely corrective action, and notifies customers in writing if investigations show that Fox Valley Metrology Group results may have been affected.

4.14.3 The area of activity audited, the audit findings and corrective actions that arise from them are recorded.

4.14.4 Follow-up audit activities verify and record the implementation and effectiveness of the corrective action taken.

4.15 Management reviews

4.15.1 In accordance with QP4.15.1, Management Review, Fox Valley Metrology Group’s top management periodically conducts a review of Fox Valley Metrology Group’s management system and testing and/or calibration activities to ensure their continuing suitability and effectiveness, and to introduce necessary changes or improvements.

Review input

The input to management review includes information on:

- Results of internal and external (e.g. customer, registrar) audits;

- Customer feedback, including complaints;

- Process performance and product conformity;

- Status of preventive and corrective actions;

- Follow-up actions from previous management reviews;

- Planned changes that could affect the quality management system, such as; changes in the volume and type of the work;

- Reports from managerial and supervisory personnel;

- The results of interlaboratory comparisons or proficiency tests;

- Other relevant factors, such as quality control activities, resources and staff training

recommendations for improvement.

4.15.2 Findings from management reviews and the actions that arise from them are recorded. The management ensures that those actions are carried out within an appropriate and agreed timescale.

The output from the management review includes any decisions and actions related to:

a)	Improvement of the effectiveness of the quality management system and its processes (e.g. the suitability of policies and procedures);

b)	Improvement of product related to customer requirements;

c)	Resource needs.

4.16 Resource Management

4.16.1 Provision of resources

Fox Valley Metrology Group determines and provides the resources needed:

a)	To implement and maintain the quality management system and continually improve its effectiveness;

b)	To enhance customer satisfaction by meeting customer requirements.

4.16.2 Human resources

Personnel performing work affecting product quality are competent on the basis of appropriate education, training, skills and experience, as defined in Procedure QP5.2.1 Training and Qualification.

4.16.3 Infrastructure

Fox Valley Metrology Group determines and provides the infrastructure needed to achieve conformity to product requirements, in accordance with the annual business planning process, and through management meetings.  The infrastructure is maintained in accordance with QP4.16.3, Maintenance.  Infrastructure includes, for example:

a)	Buildings, workspace and associated utilities;

b)	Process equipment, both hardware and software;

c)	Supporting services such as transport or communication.

4.16.4 Work environment

Fox Valley Metrology Group determines and manages the work environment needed to achieve conformity to product requirements (see QP5.3.1).

4.16.5 Customer property

Fox Valley Metrology Group exercise care with customer property while it is under Fox Valley Metrology Group’s control or being used by Fox Valley Metrology Group.  Fox Valley Metrology Group identifies, verifies, protects and safeguards customer property provided for use or incorporation into the product.  If any customer property is lost, damaged or otherwise found to be unsuitable for use, it is reported to the customer and records maintained (see 4.13.1).

4.17 Measurement, analysis and improvement

4.17.1 General

Fox Valley Metrology Group plans and implements the monitoring, measurement, analysis and improvement processes needed:

a)	To demonstrate conformity of the product;

b)	To ensure conformity of the quality management system;

c)	To continually improve the effectiveness of the quality management system.

This includes determination of applicable methods, including statistical techniques, and the extent of their use.

4.17.2 Customer Satisfaction

As one of the measurements of the performance of the quality management system, Fox Valley Metrology Group monitors information relating to customer perception as to whether Fox Valley Metrology Group has met customer requirements. The methods for obtaining and using this information are documented in Procedure QP4.17.2, Customer Satisfaction

4.17.3 Monitoring and measurement of processes

Fox Valley Metrology Group applies suitable methods for monitoring and, where applicable, measurement of the quality management system processes. The criteria for performance, and the methods used to demonstrate the ability of the processes to achieve planned results are documented in Procedure QP5.9.1, Monitoring of Processes.  When planned results are not achieved, correction and corrective action are taken, as appropriate, to ensure conformity of the product.

4.17.4 Analysis of data

Fox Valley Metrology Group determines, collects and analyzes appropriate data to demonstrate the suitability and effectiveness of the quality management system and to evaluate where continual improvement of the effectiveness of the quality management system can be made. This includes data generated as a result of monitoring and measurement and from other relevant sources.

The analysis of data provides information relating to:

a)	Customer satisfaction (see 4.17.2);

b)	Conformance to product requirements (see 4.4.1);

c)	Characteristics and trends of processes and products including opportunities for preventive action;

d)	Suppliers (see 4.6.1).

5 Technical requirements

5.1 General

5.1.1 Many factors determine the correctness and reliability of the tests and/or calibrations performed by a laboratory. These factors include contributions from:

- human factors (5.2);

- accommodation and environmental conditions (5.3);

- test and calibration methods and method validation (5.4);

- equipment (5.5);

- measurement traceability (5.6);

- sampling (5.7);

- The handling of test and calibration items (5.8).

5.1.2 The extent to which the factors contribute to the total uncertainty of measurement differs considerably between (types of) tests and inspections, and between (types of) calibrations. Fox Valley Metrology Group shall take account of these factors in developing test and calibration methods and procedures, in the training and qualification of personnel, and in the selection and calibration of the equipment it uses.

5.2 Personnel

5.2.1 Fox Valley Metrology Group management ensures the competence of all who operate specific equipment, perform tests and/or calibrations, evaluate results, and sign test reports and calibration certificates. When using staff that is undergoing training, appropriate supervision is provided. Personnel performing specific tasks are qualified on the basis of appropriate education, training, experience and/or demonstrated skills, as required in procedure QP5.2.1, Training & Qualification.

5.2.2 The management of Fox Valley Metrology Group formulates the goals with respect to the education, training and skills of Fox Valley Metrology Group personnel.  Procedure QP5.2.1 identifies the training needs and the procedures for training of personnel. The training program is relevant to the present and anticipated tasks of Fox Valley Metrology Group.

5.2.2.1 Fox Valley Metrology Group:

- determines the necessary competence for personnel performing work affecting product quality;

- provides training or takes other actions to satisfy these needs;

- evaluates the effectiveness of the actions taken;

- ensures that its personnel are aware of the relevance and importance of their activities and how they contribute to the achievement of the quality objectives;

- Maintains appropriate records of education, training, skills and experience (see 4.2.4).

5.2.3 Fox Valley Metrology Group uses personnel who are employed by, or under contract to, Fox Valley Metrology Group. Where contracted and additional technical and key support personnel are used, Fox Valley Metrology Group ensures that such personnel are supervised and competent and that they work in accordance with Fox Valley Metrology Group’s management system.

5.2.4 Fox Valley Metrology Group maintains current job descriptions for managerial, technical and key support personnel involved in tests and/or calibrations.

5.2.5 Management authorizes specific personnel to perform particular types of sampling, test and/or calibration, to issue test reports and calibration certificates, to give opinions and interpretations and to operate particular types of equipment. Records are maintained of the relevant authorization(s), competence, educational and professional qualifications, training, skills and experience of all technical personnel, including contracted personnel. This information is readily available and includes the date on which authorization and/or competence is confirmed.

5.3 Accommodation and environmental conditions

5.3.1 Laboratory facilities for testing and/or calibration, including but not limited to energy sources, lighting and environmental conditions, are such as to facilitate correct performance of the tests and/or calibrations.  QP5.3.1, Laboratory Facilities, specifies the conditions to be controlled and/or monitored.

Fox Valley Metrology Group ensures that the environmental conditions do not invalidate the results or adversely affect the required quality of any measurement. Particular care is taken when sampling and tests and/or calibrations are undertaken at sites other than a permanent laboratory facility. The technical requirements for accommodation and environmental conditions that can affect the results of tests and calibrations are documented.

5.3.2 Fox Valley Metrology Group monitors controls and records environmental conditions as required by the relevant specifications, methods and procedures or where they influence the quality of the results. Due attention is paid, for example, to biological sterility, dust, electromagnetic disturbances, radiation, humidity, electrical supply, temperature, and sound and vibration levels, as appropriate to the technical activities concerned. Tests and calibrations are stopped when the environmental conditions jeopardize the results of the tests and/or calibrations.

5.3.3 There is effective separation between neighboring areas in which there are incompatible activities.  Measures are taken to prevent cross-contamination.

5.3.4 Access to and use of areas affecting the quality of the tests and/or calibrations are controlled.  These areas may only be entered by employees, and non-employees accompanied by employees, or authorized by the President, Vice-president, or General Manager.

5.3.5 Measures are taken to ensure good housekeeping in Fox Valley Metrology Group. Special procedures are prepared where necessary.

5.4 Test and calibration methods and method validation

5.4.1 General

Fox Valley Metrology Group uses appropriate methods and procedures for all tests and/or calibrations within its scope.  The methods and procedures are documented in the technical instructions.

These include sampling, handling, transport, storage and preparation of items to be tested and/or calibrated, and, where appropriate, an estimation of the measurement uncertainty as well as statistical techniques for analysis of test and/or calibration data.

Fox Valley Metrology Group has instructions on the use and operation of all relevant equipment, and on the handling and preparation of items for testing and/or calibration, or both, where the absence of such instructions could jeopardize the results of tests and/or calibrations. All instructions, standards, manuals and reference data relevant to the work of Fox Valley Metrology Group are kept up to date and are made readily available to personnel (see 4.3). Deviation from test and calibration methods shall occur only if the deviation has been documented, technically justified, authorized, and accepted by the customer.

5.4.2 Selection of methods

Fox Valley Metrology Group uses test and/or calibration methods, including methods for sampling, which meet the needs of the customer and which are appropriate for the inspections, tests and/or calibrations it undertakes. Where available, methods based published in international, regional or national standards are used. Fox Valley Metrology Group uses the latest valid edition of a standard unless it is not appropriate or possible to do so. When necessary, the standard shall be supplemented with additional details to ensure consistent application.  Selection of methods is carried out in accordance with QP5.4.2 Selection of Calibration or Inspection Methods.

When the customer does not specify the method to be used, Fox Valley Metrology Group selects appropriate methods that have been published either in international, regional or national standards, or by reputable technical organizations, or in relevant scientific texts or journals, or as specified by the manufacturer of the equipment. Laboratory-developed methods or methods adopted by Fox Valley Metrology Group may also be used if they are appropriate for the intended use and if they are validated in accordance with paragraph 5.4.5 below. The customer is informed as to the method chosen. Fox Valley Metrology Group confirms that it can properly operate standard methods before introducing the tests or calibrations. If the standard method changes, the confirmation is repeated.

Fox Valley Metrology Group informs the customer when the method proposed by the customer is considered to be inappropriate or out of date.

5.4.3 Laboratory-developed methods

The introduction of test and calibration methods developed by Fox Valley Metrology Group for its own use are a planned activity and are assigned to qualified personnel equipped with adequate resources.

Plans are updated as development proceeds and effective communication amongst all personnel involved is ensured.

5.4.4 Non-standard methods

When it is necessary to use methods not covered by standard methods, these are subject to agreement with the customer and include a clear specification of the customer’s requirements and the purpose of the test and/or calibration. The method developed shall have been validated in accordance with paragraph 5.4.5

5.4.5 Validation of methods

5.4.5.1 Validation is the confirmation by examination and the provision of objective evidence that the particular requirements for a specific intended use are fulfilled.

5.4.5.2 Fox Valley Metrology Group validates non-standard methods, laboratory-designed/developed methods, standard methods used outside their intended scope, and amplifications and modifications of standard methods to confirm that the methods are fit for the intended use in accordance with procedure QP5.4.5, Validation of Methods. The validation is as extensive as is necessary to meet the needs of the given application or field of application. The validation record indicates the results obtained, the procedure used for the validation, and a statement as to whether the method is fit for the intended use.

5.4.5.3 The range and accuracy of the values obtainable from validated methods (e.g. the uncertainty of the results, detection limit, selectivity of the method, linearity, limit of repeatability and/or reproducibility, robustness against external influences and/or cross-sensitivity against interference from the matrix of the sample/test object), as assessed for the intended use, shall be relevant to the customer’s needs.

5.4.6 Estimation of uncertainty of measurement

5.4.6.1 Procedure QP5.4.6, Estimation of Uncertainty of Measurement defines the requirements for estimating the uncertainty of measurement for all calibrations and types of calibrations and inspection, and for the identification of other statistical techniques used.

5.4.6.2 Fox Valley Metrology Group personnel responsible for determining measurement uncertainty have access to, and apply QP5.4.6 for estimating uncertainty of measurement, and control of statistical techniques.

In certain cases, the nature of the test method may preclude rigorous, metrologically and statistically valid, calculation of uncertainty of measurement. In these cases, an attempt is made to identify all the components of uncertainty and make a reasonable estimation, and to ensure that the form of reporting of the result does not give a wrong impression of the uncertainty. Reasonable estimation is based on knowledge of the performance of the method and on the measurement scope and makes use of, for example, previous experience and validation data.

5.4.6.3 When estimating the uncertainty of measurement, all uncertainty components which are of importance in the given situation are taken into account using appropriate methods of analysis.

5.4.7 Control of data

5.4.7.1 Calculations and data transfers are subject to appropriate checks in a systematic manner.

5.4.7.2 When computers or automated equipment are used for the acquisition, processing, recording, reporting, storage or retrieval of test or calibration data, Fox Valley Metrology Group ensures that:

a) Computer software developed by the user is documented in sufficient detail and is suitably validated as being adequate for use;

b) procedures are established and implemented for protecting the data; such procedures shall include, but not be limited to, integrity and confidentiality of data entry or collection, data storage, data transmission and data processing (see QP4.3.1 & QP4.13.1);

c) Computers and automated equipment are maintained to ensure proper functioning and are provided with the environmental and operating conditions necessary to maintain the integrity of test and calibration data.

Commercial off-the-shelf software (e.g. word processing, database and statistical programs) in general use within their designed application range are considered to be sufficiently validated. However, laboratory software configuration/modifications are validated as in 5.4.7.2a).

5.5 Equipment

5.5.1 Fox Valley Metrology Group is furnished with all items of sampling, measurement and test equipment required for the correct performance of the tests and/or calibrations (including sampling, preparation of test and/or calibration items, processing and analysis of test and/or calibration data). In those cases, where Fox Valley Metrology Group needs to use equipment outside its permanent control, it ensures that the requirements of ISO/IEC 17025 are met.  Equipment is controlled in accordance with QP5.5.1, Control of Measurement & Test Equipment.

5.5.2 Equipment and its software used for testing, calibration and sampling are capable of achieving the accuracy required and shall comply with specifications relevant to the tests and/or calibrations concerned.

Calibration programs are established for key quantities or values of the instruments where these properties have a significant effect on the results. Before being placed into service, equipment (including that used for sampling) is calibrated or checked to establish that it meets Fox Valley Metrology Group's specification requirements and complies with the relevant standard specifications. It is checked and/or calibrated before use (see 5.6).

5.5.3 Equipment is operated by authorized personnel. Up-to-date instructions on the use and maintenance of equipment (including any relevant manuals provided by the manufacturer of the equipment) are readily available for use by the appropriate laboratory personnel.

5.5.4 Each item of equipment and its software used for testing and calibration and significant to the result, when practicable, are uniquely identified.

5.5.5 Records are maintained of each item of equipment and its software significant to the tests and/or calibrations performed. The records include at least the following:

- The identity of the item of equipment and its software;

- The manufacturer's name, type identification, and serial number or other unique identification;

- Checks that equipment complies with the specification (see 5.5.2);

- The current location, where appropriate;

- The manufacturer's instructions, if available, or reference to their location;

- dates, results and copies of reports and certificates of all calibrations, adjustments, acceptance criteria;

- and the due date of next calibration;

- the maintenance plan, where appropriate, and maintenance carried out to date;

- Any damage, malfunction, modification or repair to the equipment.

5.5.6 Technical instructions define the requirements for safe handling, transport, storage, use and planned maintenance of measuring equipment to ensure proper functioning and in order to prevent contamination or deterioration.

5.5.7 Equipment that has been subjected to overloading or mishandling, gives suspect results, or has been shown to be defective or outside specified limits, is taken out of service, and isolated to prevent its use or clearly labeled or marked as being out of service until it has been repaired and shown by calibration or test to perform correctly. Fox Valley Metrology Group examines the effect of the defect or departure from specified limits on previous tests and/or calibrations and institutes the Control of Nonconforming Work procedure (see 4.9).

5.5.8 Whenever practicable, all equipment under the control of Fox Valley Metrology Group and requiring calibration is labeled, coded or otherwise identified to indicate the status of calibration, including the date when last calibrated and the date or expiration criteria when recalibration is due.

5.5.9 When, for whatever reason, equipment goes outside the direct control of Fox Valley Metrology Group, Fox Valley Metrology Group ensures that the function and calibration status of the equipment are checked and shown to be satisfactory before the equipment is returned to service.

5.5.10 When intermediate checks are needed to maintain confidence in the calibration status of the equipment, these checks are carried out according to a defined technical instruction.

5.5.11 Where calibrations give rise to a set of correction factors, Fox Valley Metrology Group has technical instructions to ensure that copies (e.g. in computer software) are correctly updated.

5.5.12 Test and calibration equipment, including both hardware and software, are safeguarded from adjustments which would invalidate the test and/or calibration results.

5.6 Measurement traceability

5.6.1 General

All equipment used for tests and/or calibrations, including equipment for subsidiary measurements (e.g. for environmental conditions) having a significant effect on the accuracy or validity of the result of the test, calibration or sampling are calibrated before being put into service. Technical instructions are available for the calibration of measurement & test equipment.

5.6.2 Specific requirements

5.6.2.1 Calibration

5.6.2.1.1 For Fox Valley Metrology Group, the program for calibration of equipment is designed and operated so as to ensure that calibrations and measurements made by Fox Valley Metrology Group are traceable to the International System of Units (SI) (Système international d'unités).

Fox Valley Metrology Group establishes traceability of its own measurement standards and measuring instruments to the SI by means of an unbroken chain of calibrations or comparisons linking them to relevant primary standards of the SI units of measurement. The link to SI units may be achieved by reference to national measurement standards. National measurement standards may be primary standards, which are primary realizations of the SI units or agreed representations of SI units based on fundamental physical constants, or they may be secondary standards which are standards calibrated by another national metrology institute. When using external calibration services, traceability of measurement shall be assured by the use of calibration services from laboratories that can demonstrate compliance with ISO/IEC 17025 and ANSI/NCSL Z540. The calibration certificates issued by these laboratories shall contain the measurement results, including the measurement uncertainty and/or a statement of compliance with an identified metrological specification (see also 5.10.4.2).

If calibration traceability must be obtained from a national metrology institute other than NIST, a national metrology institute that actively participates in the activities of BIPM either directly or through regional groups is selected.

The unbroken chain of calibrations or comparisons may be achieved in several steps carried out by different laboratories that can demonstrate traceability.

5.6.2.1.2 If there are calibrations that currently cannot be strictly made in SI units, calibration provides confidence in measurements by establishing traceability to appropriate measurement standards such as:

- the use of certified reference materials provided by a competent supplier to give a reliable physical or chemical characterization of a material;

- the use of ratio or reciprocity – type measurements;

- The use of specified methods and/or consensus standards that are clearly described and agreed by all parties concerned.

Participation in a suitable program of interlaboratory comparisons is required where possible.

5.6.2.2 Testing

5.6.2.2.1 The requirements given in 5.6.2.1 apply for measuring and test equipment for testing laboratories, with measuring functions used, unless it has been established that the associated contribution from the calibration contributes little to the total uncertainty of the test result. When this situation arises, Fox Valley Metrology Group ensures that the equipment used can provide the uncertainty of measurement needed.

5.6.2.2.2 Where traceability of measurements to SI units is not possible and/or not relevant, the same requirements for traceability to, for example, certified reference materials, agreed methods and/or consensus standards, are required as for calibration laboratories (see 5.6.2.1.2).

5.6.3 Reference standards and reference materials

5.6.3.1 Reference standards

Fox Valley Metrology Group has a program and has a procedure QP 5.5.1 Control of Measurement and Test Equipment for the calibration of its reference standards. Reference standards are calibrated by a body that can provide traceability as described in 5.6.2.1. Such reference standards of measurement held by Fox Valley Metrology Group are used for calibration only and for no other purpose, unless it can be shown that their performance as reference standards would not be invalidated. Reference standards are calibrated before and after any adjustment.

5.6.3.2 Reference materials

Reference materials, where possible, are traceable to SI units of measurement, or to certified reference materials. Internal reference materials are checked as far as is technically and economically practicable.

5.6.3.3 Intermediate checks

Checks needed to maintain confidence in the calibration status of reference, primary, transfer or working standards and reference materials are carried out according to defined procedures and schedules.

5.6.3.4 Transport and storage

Technical instructions define the requirements for safe handling, transport, storage and use of reference standards and reference materials in order to prevent contamination or deterioration and in order to protect their integrity.

5.7 Sampling

5.7.1 There is no sampling performed at Fox Valley Metrology Group.

5.8 Handling of test and calibration items

5.8.1 Procedure QP5.8.1 Identification, Inspection, Handling, Protection, Storage & Delivery defines the requirements for the transportation, receipt, handling, protection, storage, retention and/or disposal of test and/or calibration items, including all provisions necessary to protect the integrity of the test or calibration item, and to protect the interests of Fox Valley Metrology Group and the customer.

5.8.2 Test and/or calibration items are identified in accordance with QP5.8.1. The identification is retained throughout the life of the item in Fox Valley Metrology Group. QP5.8.1 ensures that items cannot be confused physically or when referred to in records or other documents. The procedure accommodates a sub-division of groups of items and the transfer of items within and from Fox Valley Metrology Group.

5.8.3 Upon receipt of the test or calibration item, abnormalities or departures from normal or specified conditions, as described in the test or calibration method, are recorded. When there is doubt as to the suitability of an item for test or calibration, or when an item does not conform to the description provided, or the test or calibration required is not specified in sufficient detail, the Quality Manager consults the customer for further instructions before proceeding and records the discussion.

5.8.4 Fox Valley Metrology Group has appropriate facilities and procedures (QP5.8.1) for avoiding deterioration, loss or damage to the test or calibration item during storage, handling and preparation. The technical instruction for the specified item also provides any special handling instructions to be followed. When items have to be stored or conditioned under specified environmental conditions, these conditions are maintained, monitored and recorded. Where a test or calibration item or a portion of an item is to be held secure, the item is stored in a locked cabinet to protect the condition and integrity of the secured items or portions concerned.

5.9 Assuring the quality of test and calibration results

5.9.1 Procedure QP5.9.1, Monitoring of Processes defines the methods used for monitoring the validity of tests and calibrations undertaken.

The resulting data is recorded in such a way that trends are detectable and, where practicable, statistical techniques are applied to the reviewing of the results. This monitoring is planned and reviewed and includes one or more of the following:

a) Regular use of certified reference materials and/or internal quality control using secondary reference materials;

b) Participation in interlaboratory comparison or proficiency-testing programs;

c) Replicate tests or calibrations using the same or different methods;

d) Retesting or recalibration of retained items;

e) Correlation of results for different characteristics of an item.

5.9.2 Quality control data is analyzed and, where they are found to be outside pre-defined criteria, QP 4.11.1 Corrective Action is utilized to correct the problem and to prevent incorrect results from being reported.

5.10 Reporting the results

5.10.1 General

The results of each test, calibration, or series of tests or calibrations carried out by Fox Valley Metrology Group are reported accurately, clearly, unambiguously and objectively, and in accordance with any specific instructions in the test or calibration methods.

Particular care and attention is paid to the arrangement of the certificate or report, especially with regard to presentation of the calibration data and ease of assimilation by the customer. The format is carefully and specifically designed for each type of calibration carried out, but the headings are standardized as far as possible.

The results are reported, usually in a test report or a calibration certificate, and include all the information requested by the client and necessary for the interpretation of the test or calibration results and all information required by the method used. This information is normally that required by 5.10.2, and 5.10.3 or 5.10.4.

In the case of tests or calibrations performed for internal customers, or in the case of a written agreement with the client, the results may be reported in a simplified way. Any information listed in 5.10.2 to 5.10.4, which is not reported to the customer is readily available at Fox Valley Metrology Group which carried out the tests and/or calibrations.

The requirements for Test and Calibration Reports are detailed in procedure QP5.10.1, Reporting Results.

5.10.2 Test reports and calibration certificates

Each test report or calibration certificate shall include at least the following information, unless there are valid reasons for not doing so:

- a title (e.g. "Test Report" or "Calibration Certificate");

- the name and address of Fox Valley Metrology Group, and the location where the tests and/or calibrations were carried out, if different from the address of Fox Valley Metrology Group;

- unique identification of the test report or calibration certificate (such as the serial number), and on each page an identification in order to ensure that the page is recognized as a part of the test report or calibration certificate, and a clear identification of the end of the test report or calibration certificate;

- the name and address of the customer;

- identification of the method used;

- a description of, the condition of, and unambiguous identification of the item(s) tested or calibrated;

- the date of receipt of the test or calibration item(s) where this is critical to the validity and application of the results, and the date(s) of performance of the test or calibration;

- reference to the sampling plan and procedures used by Fox Valley Metrology Group or other bodies where these are relevant to the validity or application of the results;

- the test or calibration results with, where appropriate, the units of measurement;

- the name(s), function(s) and signature(s) or equivalent identification of person(s) authorizing the test report or calibration certificate;

- Where relevant, a statement to the effect that the results relate only to the items tested or calibrated.

Hard copies of test reports and calibration certificates include the page number and total number of pages.

The certificate shall include a statement specifying that the test report or calibration certificate shall not be reproduced except in full, without written approval of Fox Valley Metrology Group.

5.10.3 Test reports

5.10.3.1 In addition to the requirements listed in 5.10.2, test reports, where necessary for the interpretation of the test results, include the following:

a) Deviations from, additions to, or exclusions from the test method, and information on specific test conditions, such as environmental conditions;

b) Where relevant, a statement of compliance/non-compliance with requirements and/or specifications;

c) Where applicable, a statement on the estimated uncertainty of measurement; information on uncertainty is needed in test reports when it is relevant to the validity or application of the test results, when a customer's instruction so requires, or when the uncertainty affects compliance to a specification limit;

d) Where appropriate and needed, opinions and interpretations (see 5.10.5);

e) Additional information which may be required by specific methods, customers or groups of customers.

5.10.3.2 Not Applicable - see Section 5.7.

5.10.4 Calibration certificates

5.10.4.1 In addition to the requirements listed in 5.10.2, calibration certificates include the following, where necessary for the interpretation of calibration results:

- the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results;

- the uncertainty of measurement and/or a statement of compliance with an identified metrological specification or clauses thereof;

- Evidence that the measurements are traceable.

5.10.4.2 The calibration certificate relates only to quantities and the results of functional tests. If a statement of compliance with a specification is made, this shall identify which clauses of the specification are met or not met.

When a statement of compliance with a specification is made omitting the measurement results and associated uncertainties, Fox Valley Metrology Group records those results and maintains them for possible future reference.

When statements of compliance are made, the uncertainty of measurement is taken into account.

5.10.4.3 When an instrument for calibration has been adjusted or repaired, the calibration results before and after adjustment or repair, if available, are reported.

5.10.4.4 A calibration certificate (or calibration label) shall not contain any recommendation on the calibration interval except where this has been agreed with the customer.

5.10.5 Opinions and interpretations

When opinions and interpretations are included, the basis upon which the opinions and interpretations have been made are documented. Opinions and interpretations shall be clearly marked as such in a test report.

5.10.6 Testing and calibration results obtained from subcontractors

When the test report contains results of tests performed by subcontractors, these results are clearly identified.

The subcontractor is required to report the results in writing or electronically.

When a calibration has been subcontracted, the subcontractor performing the work issues the calibration certificate to Fox Valley Metrology Group.

5.10.7 Electronic transmission of results

In the case of transmission of test or calibration results by telephone, telex, facsimile or other electronic or electromagnetic means, the requirements of ISO/IEC 17025 are met (see also 5.4.7).

5.10.8 Format of reports and certificates

The format of each type of test or calibration report or certificate is designed to minimize the possibility of misunderstanding or misuse.

5.10.9 Amendments to test reports and calibration certificates

Material amendments to a test report or calibration certificate after issue are made only in the form of a further document, or data transfer, which includes the statement:

"Supplement to Test Report [or Calibration Certificate], serial number ... [or as otherwise identified]", or an equivalent form of wording.

Such amendments meet all the requirements of ISO/IEC 17025.

When it is necessary to issue a complete new test report or calibration certificate, the certificate or report are uniquely identified and contain a reference to the original that it replaces.

6 Organizational Charts

HR Manager

FVM Repair Mgr.

FVM Elec. / Dimen. Mgr.

Office Staff

Repair Tech

Cal. Tech.

Controller

Cal. Tech.

FVM Hard Gage Mgr.

Sales Mgr.

FVM Ship / Rec. Mgr.

FVM Insp. Service Mgr

Inside Sales

Outside Sales

Cal. Tech.

Cal. Tech.

Ship / Rec. Tech.

Designations:

+ Key Personnel	@ Technical Mgr.     % Mgt. Representative (Quality Manager)

*   Deputy Tech.  Mgr.	# Deputy Mgt. Rep.

7 Customer Process Sequence

7.  ISO 9001 CROSS REFERENCE TABLE

| ISO 9001 Sect. No. | Quality Manual Sect. | Procedure No. | Procedure Name |
| --- | --- | --- | --- |
| 4.1 | 4.2.1.1 4.2.1.2 | N/A |  |
| 4.2.1 | 4.2.3 | N/A |  |
| 4.2.2 | 2.1 4.2.5 Ex. 7 | N/A |  |
| 4.2.3 | 4.3 | QP4.3.1 | Document Control |
| 4.2.4 | 4.13 | QP4.13.1 | Control of Records |
| 5.1 | 4.1.6 4.2.2 4.2.3 | N/A |  |
| 5.2 | 4.1.7 4.2.4 | N/A |  |
| 5.3 | 4.1.8 4.2.2 | N/A |  |
| 5.4.1 | 4.1.9 | QP4.1.9 | Business Plan Development & Review |
| 5.4.2 | 4.1.9 | QP4.1.9 | Business Plan Development & Review |
| 5.5.1 | 4.1 | N/A |  |
| 5.5.2 | 4.1.5.a & i | N/A |  |
| 5.5.3 | 4.1.5.k 4.1.6 | N/A |  |
| 5.6.1 | 4.15.1 | QP4.15.1 | Management Review |
| 5.6.2 | 4.15.1 | QP4.15.1 | Management Review |
| 5.6.3 | 4.15.2 | QP4.15.1 | Management Review |
| 6.1 | 4.16.1 | QP4.1.9 | Business Plan Development & Review |
| 6.2.1 | 4.16.2 | QP5.2.1 | Training & Qualification |
| 6.2.2 | 4.16.2.1 | QP5.2.1 | Training & Qualification |
| 6.3 | 4.16.3 | QP4.16.3 | Maintenance |
| 6.4 | 5.3 4.16.4 | QP5.3.1 | Laboratory Facilities |
| 7.1 | 4.4.1 5.4.2 | QP4.4.1 QP5.4.2 | Review of Requests, Tenders, & Contracts Selection of Calibration or Inspection Method |
| 7.2.1 | 4.4.1 | QP4.4.1 | Review of Requests, Tenders, & Contracts |
| 7.2.2 | 4.4.1-5 | QP4.4.1 | Review of Requests, Tenders, & Contracts |
| 7.2.3 | 4.4.6 | QP4.4.1 | Review of Requests, Tenders, & Contracts |
| 7.3 | N/A | N/A | N/A |
| 7.4.1 | 4.6.1 | QP4.6.1 | Evaluation & Selection of Suppliers |
| 7.4.2 | 4.6.3 | QP4.6.2 | Purchasing Documentation |
| 7.4.3 | 4.6.2 | QP4.6.3 | Verification of Purchased Product |
| 7.5.1 | 4.8.1 | QP5.8.1 | Identification, Inspection, Handling, Protection, Storage, and Delivery |
| 7.5.2 | 5.4 | QP5.4.5 | Validation Methods |
| 7.5.3 | 5.6.3 | QP5.8.1 | Identification, Inspection, Handling, Protection, Storage, and Delivery |
| 7.5.4 | 4.16.5 | N/A |  |
| 7.5.5 | 5.8 | QP5.8.1 | Identification, Inspection, Handling, Protection, Storage, & Delivery |
| 7.6 | 5.5 | QP5.5.1 | Control of Measuring & Test Equipment |
| 8.1 | 4.17.1 5.4.6 | QP5.9.1 QP5.4.6 | Monitoring of Tests & Calibrations Estimation of Uncertainty of Measurement |
| 8.2.1 | 4.17.2 | QP4.17.2 | Customer Satisfaction |
| 8.2.2 | 4.14 | QP4.14.1 | Internal Audits |
| 8.2.3 | 4.17.3 | QP5.9.1 | Monitoring of Processes |
| 8.2.4 | 5.8.1 | QP5.8.1 | Identification, Inspection, Handling, Protection, Storage, & Delivery |
| 8.3 | 4.9 | QP4.9.1 | Control of Nonconforming Work |
| 8.4 | 4.17.4 | N/A |  |
| 8.5.1 | 4.10 | QP4.10.1 | Continual Improvement |
| 8.5.2 | 4.11 | QP4.11.1 | Corrective Action |
| 8.5.3 | 4.12 | QP4.12.1 | Preventive Action |

8.  SEQUENCE AND INTERACTION TABLE

| QP419 | QP431 | QP441 | QP461 | QP462 | QP463 | QP491 | QP4111 | QP4121 | QP4102 | QP4131 | QP4141 | QP4151 | QP4163 | QP4172 | QP521 | QP531 | QP542 | QP545 | QP546 | QP551 | QP581 | Q P591 | QP5101 | Q P66 1 | S E Q U E N C E | Procedure Number | Procedure Name |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| X | X |  |  |  |  |  | X | X | X | X | X | X |  | X | X | X |  |  |  |  |  |  |  |  | 3 | QP4.1.9 | Business Plan Development & Review |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 1 | QP4.3.1 | Document Control |
|  | X | X | X | X | X |  | X | X | X | X | X | X |  | X | X | X | X | X |  |  | X |  | X | X | 7 | QP4.4.1 | Review of Tenders, Quotes & Contracts |
|  | X |  | X | X | X |  | X | X | X | X | X | X |  | X |  |  |  |  |  |  |  |  |  |  | 4 | QP4.6.1 | Evaluation & Selection of Suppliers |
|  | X |  |  | X | X |  | X | X | X | X | X | X |  | X |  |  |  |  |  |  |  |  |  |  | 5 | QP4.6.2 | Purchasing Documentation |
|  | X |  |  |  | X | X | X | X | X | X | X | X |  | X |  |  |  |  |  |  |  |  |  |  | 6 | QP4.6.3 | Verification of Purchased Product |
|  | X |  |  |  |  | X | X | X | X | X | X | X |  | X |  |  |  |  |  |  |  |  |  |  | 19 | QP4.9.1 | Control of Nonconforming Work |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 25 | QP4.10.1 | Continual Improvement |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 20 | QP4.11.1 | Corrective Action |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 24 | QP4.12.1 | Preventive Action |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 2 | QP4.13.1 | Control of Records |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 23 | QP4.14.1 | Internal Audit |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 21 | QP4.15.1 | Management Review |
|  | X |  |  |  |  |  | X | X | X | X | X | X | X | X |  | X |  |  | X | X |  |  |  | X | 18 | QP4.16.3 | Maintenance |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 26 | QP4.17.2 | Customer Satisfaction |
|  | X | X |  |  |  |  | X | X | X | X | X | X | X | X |  |  |  |  |  | X |  | X | X | X | 8 | QP5.2.1 | Training & Qualification |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  |  |  |  | X | X | X | X |  | X |  |  | 11 | QP5.3.1 | Laboratory Facilities |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X | X | X | X | 9 | QP5.4.2 | Selection of Inspection or Calibration Method |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X | X | X | X | X | X | X | X |  |  | X | 12 | QP5.4.5 | Validation of Methods |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X | X | X | X | X | X | X |  | X |  | X | 13 | QP5.4.6 | Estimation of Uncertainty |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X |  |  |  | X | X | X |  | X |  | X | 10 | QP5.5.1 | Control of Measurement & Test Equipment |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X |  |  |  |  | X | X | X |  |  | X | 14 | QP5.8.1 | Identification, Inspection, Handling, Protection, Storage, and Delivery |
| X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | X | 17 | QP5.9.1 | Monitoring of Processes |
|  | X |  |  |  |  |  | X | X | X | X | X | X |  | X |  |  |  |  |  |  |  |  | X | X | 16 | QP5.10.1 | Reporting Results |

9.  Quality Manual Changes

| Section # | Rev # | Date | Description of Change |
| --- | --- | --- | --- |
| All |  |  | Formatted and updated manual to ISO/IEC17025:2005 |
| 2 | 2 | 7/1/09 | Name Change TPM to FVM |
| 4.3.2.1 | 3 | 3/18/11 | Changed paragraph to show electronic document control. |
| 6 | 4 | 4/5/11 | Updated org chart |
| 4.1.5J | 5 | 2/10/13 | Changed paragraph J to match Org Chart |
| 4.2.6 | 5 | 2/10/13 | Changed paragraph J to match Org Chart |
| All | 6 | 2/10/15 | Added our new location FVMNII. Revised the Org Chart. |

# Text boxes

# President +

# Board of Directors

# Corp. GM + # *

# Systems Manager / VP + % @

GM FVMN / FVMNII  + *  #

GM FVS + *  #

Repair Tech.

Field Service Tech.

Lab Tech.

Lab Tech.

Repair Tech.

Office Staff

Office Staff

Field Service Tech.

# Customer Feedback

# Purchasing

# Quoting

# Handling & Shipping

# Calibration

# Receiving

# Customer Gages

# Customer Website

# Customer Survey